## DRL-1
[12 empty] | MAGNETIC FLOW TRANSMITTER | [11 empty] | Document No.: |  | P3FH-IN-9000-RFQ-1012
DRL-1
Item No: | [6 empty] | Client: |  | PT. Antam (Persero) Tbk. |  |  |  | Originating Discipline: | INSTRUMENT | [9 empty] | Cells revised since the last revision should be highlighted in turquoise.
RFQ / ITB No: |  |  |  | P3FH-IN-9000-RFQ-1012 |  |  | Item / Tag No: |  | Magnetic Flow Transmitter |  |  |  | Buyer/CA: | M. Kosyafan
PO / Contract No: | [6 empty] | Responsible Eng.: |  | Bagus Ardiansyah |  |  |  | Supplier:
INSTRUCTIONS: | [15 empty] | Required Prelim with Proposal? | Electronic Required? | Native Electronic File Required? | Quantity of Prints | To be submitted in MDR only? | LEAD TIME |  |  |  |  | DATES
1. | In enquiry the RESPONSIBLE ENGINEER will complete the "Job No", "Requisition or ITB No", "Client", "Item / Tag No", "Responsible Engineer", "Originating Group", Package Coordinator", "Required Prelim with Proposal?", "Electronic Required?", "Native Electronic File Required?", "Quantity of Prints", "To be Submitted in MDR Only?", "Weeks Code", "Required Weeks" and "Revision Block" of the DRL-1. The RESPONSIBLE ENGINEER will "Grey" each entire row, and remove associated icons, where the DRL Code is not applicable. | [19 empty] | Lead Time for First Submittal of Drawings: AC = After Contract Award BE = Before Event / Test / Inspection AE = After Event / Test / Inspection BS = Before Shipping AS = After Shipping BM = Before Mobilization AM = After Mobilization BIA = Before Initial Acceptance BFA = Before Final Acceptance |  |  |  |  | Effective Contract Commencement Date:
2. | SUPPLIER / CONTRACTOR shall complete "Proposed Weeks" during the RFQ / ITB process, and submit this form as part of the proposal.
3. | Prior to PO / Contract award, the RESPONSIBLE ENGINEER will complete "PO / Contract Number", "Supplier / Contractor" and "Agreed Weeks". The revision status of the DRL-1 shall be updated prior to reissue.
4. | After PO / Contract award, the SUPPLIER / CONTRACTOR shall add one line under each relevant DRL code title for each document to be provided and complete the, "Seq No", "Supplier Document Number" and "Rev", "Purchaser Document Number" and "Rev" and will check that "Agreed Date" is correct or add a date, as required. Tag number cross references shall also be completed for each document if applicable. Where appropriate OEM document numbers shall also be entered.
5. | SUPPLIER / CONTRACTOR will update and resubmit the DRL-1 as a new revision each time there is a change. Changes shall be clearly identified using Red font. | [24 empty] | First Submittal Dates
6. | Contract Specific DRL Codes are highlighted in "Yellow".
7. | Final Documentation sent to the supplier shall be E+5C (One Electronic Copy + 5 Hard Copy)
SDR Code |  | Seq No | Supplier Document No. |  | Rev | Purchaser Document No. | Rev | OEM Document No | Manufacturer | Model | Description |  |  |  | Tag No (s) | [5 empty] | Weeks Code | Required Weeks | Proposed Weeks |  | Agreed Weeks | Agreed Date | Revised Date
[20 empty] | 4 |  |  | Weeks
A | [10 empty] | Control Documents
A01 | [10 empty] | Supplier Drawing and Document List | [5 empty] | ü | ü |  |  | AC | 1
A02 | [10 empty] | Fabrication / Production Installation Schedule |  |  |  |  | ü | ü |  |  |  | AC | 1
A03 | [10 empty] | Weekly / Monthly Progress Reports | [5 empty] | ü |  |  |  | AC | 4
A04 | [10 empty] | Bought Out Items List | [5 empty] | ü | ü |  |  | AC | 1
A05 | [10 empty] | Not Used
A06 | [10 empty] | Detailed List of Sub Suppliers | [5 empty] | ü |  |  |  | AC | 1
A07 | [10 empty] | Unpriced Copy of Major Suppliers / Sub Contractors Contracts / Purchase Orders
A08 | [10 empty] | Material / Equipment Shipping Lists, Packaging and Handling
A09 | [10 empty] | Not Used
A10 | [10 empty] | Not Used
A11 | [10 empty] | Catalogue Data |  |  |  |  | ü
A12 | [10 empty] | Project Execution Plan | [5 empty] | ü |  |  |  | AC | 1
A13 | [10 empty] | Local Content Engagement Plan
A14 | [10 empty] | Not Used
A15 | [10 empty] | Not Used
A16 | [10 empty] | Not Used
B | [10 empty] | Interface & Arrangement Drawings
B01 | [10 empty] | General Arrangement Drawings | [5 empty] | ü | ü |  |  | AC | 1
B02 | [10 empty] | Acceptable Nozzle Loads
B03 | [10 empty] | Interface And Connection Schedule | [5 empty] | ü | ü |  |  | AC | 1
B04 | [10 empty] | Foundation Loading Diagrams and Support Details
B99 | [10 empty] | Special Requirements
C | [10 empty] | Design & Operation
C01 | [10 empty] | Piping and Instrument Diagrams
C02 | [10 empty] | Single Line Electrical Diagrams
C03 | [10 empty] | Schematic / Architecture Diagrams
C04 | [10 empty] | Not Used - Utilities Schedule - refer to C24
C05 | [10 empty] | Weight Data Sheets | [5 empty] | ü | ü |  |  | AC | 1
C06 | [10 empty] | Equipment Data Sheets or Specification Sheets | [5 empty] | ü | ü |  |  | AC | 1
C07 | [10 empty] | Noise Level Data Sheets
C08 | [10 empty] | Material Safety Data Sheets (MSDS) | [5 empty] | ü | ü |  |  | AC | 1
C09 | [10 empty] | Schedule Electrical Equipment in Hazardous Area
C10 | [10 empty] | Not Used - Detailed Description of Operations to be included IOM's at R01
C11 | [10 empty] | HVAC Schematic and Flow Diagrams
C12 | [10 empty] | Process Flow Diagrams, Heat And Mass Balances
C13 | [10 empty] | Electrical Equipment Data Sheet
C14 | [10 empty] | Not Used - Enclosure Ventilation Requirements - refer to F15
C15 | [10 empty] | Instrument Index
C16 | [10 empty] | Instrument Data Sheets | [5 empty] | ü | ü |  |  | AC | 1
C17 | [10 empty] | Cause And Effect Diagrams
C18 | [10 empty] | Instrument / Electrical Logic Diagram
C19 | [10 empty] | HMI Screen Display Graphics
C20 | [10 empty] | Block Wiring Schematic | [5 empty] | ü | ü |  |  | AC | 1
C21 | [10 empty] | Design Verification Registration Documentation and Supporting Calculations
C22 | [10 empty] | Electrical Load Motor List
C23 | [10 empty] | Equipment List
C24 | [10 empty] | Utility and Emission List
C25 | [10 empty] | Manual Valve Index
C26 | [10 empty] | Line List
C27 | [10 empty] | Piping Loading and Interface Data
C28 | [10 empty] | Control Philosophy and Block Logic Diagrams
C29 | [10 empty] | Control System Power Supply
C30 | [10 empty] | Functional and Design Specifications |  |  |  |  | ü | ü | ü |  |  | AC | 1
C31 | [10 empty] | Not Used
C32 | [10 empty] | Oil System Operating Philosophy
C33 | [10 empty] | Instrument I/O List
C34 | [10 empty] | Panel Wiring Diagrams
C35 | [10 empty] | Technical Studies and Reports
D | [10 empty] | General Details & Subassembly Drawings
D01 | [10 empty] | Cross Section/Exploded View Drawing with Parts List
D02 | [10 empty] | Mechanical Seal Drawings
D03 | [10 empty] | Shaft Alignment Drawing
D04 | [10 empty] | Name Plate Format Drawings | [5 empty] | ü | ü |  |  | AC | 1
D05 | [10 empty] | Sub Assembly Arrangements | [5 empty] | ü | ü |  |  | AC | 1
D06 | [10 empty] | Detail Drawings | [5 empty] | ü | ü |  |  | AC | 1
D07 | [10 empty] | Assembly / Erection Drawings and Marking Plans
D08 | [10 empty] | General Details & Subassembly Drawings
D09 | [10 empty] | Tank / Vessel Drawings
D99 | [10 empty] | Miscellaneous Drawings | [5 empty] | ü | ü |  |  | AC | 2
E | [10 empty] | Electrical, Instrument and T&E and IT Interconnections & Details
E01 | [10 empty] | Interconnection Diagram
E02 | [10 empty] | Panel Cabinet Layouts
E03 | [10 empty] | Terminal Block Diagrams
E04 | [10 empty] | Cable Schedule
E05 | [10 empty] | Instrument Termination & Hook Up Details | [5 empty] | ü | ü |  |  | AC | 1
E06 | [10 empty] | Instrument Loop Diagrams
E07 | [10 empty] | Instrument Data Exchange Protocol and Table
E08 | [10 empty] | Instrument Layout Drawings
E09 | [10 empty] | Instrument Outline Drawings
E10 | [10 empty] | Not Used - Instrument List - refer to C15
E11 | [10 empty] | Distribution Board Schedule
E12 | [10 empty] | Control Diagrams
E13 | [10 empty] | Electrical Termination and Hook Up Details
E14 | [10 empty] | Software
E15 | [10 empty] | Instrument Labels | [5 empty] | ü |  |  |  | AC | 1
E16 | [10 empty] | Heat Dissipation
E17 | [10 empty] | Instrument Hardwired Interface List
E18 | [10 empty] | T&E / IT Equipment Data Exchange Protocol Documentation
E19 | [10 empty] | T&E / IT Configuration Documents
E20 | [10 empty] | T&E / IT Schedules and Registers
E21 | [10 empty] | T&E / IT Plans
F | [10 empty] | Calculations & Performance Data
F01 | [10 empty] | Pressure Vessel/Tanks Mechanical Calculations
F02 | [10 empty] | Process/Utility Calculations | [5 empty] | ü |  |  |  | AC | 1
F03 | [10 empty] | Structural Steel Calculations
F04 | [10 empty] | Foundation Support Calculations
F05 | [10 empty] | System Head Loss Calculations | [5 empty] | ü |  |  |  | AC | 1
F06 | [10 empty] | Lateral Critical Speed Calculations
F07 | [10 empty] | Torsional Critical Speed Calculations
F08 | [10 empty] | Bearing Life Calculations
F09 | [10 empty] | Thrust Bearing Sizing Calculations
F10 | [10 empty] | Heat Emission Calculations
F11 | [10 empty] | Reliability and Availability | [5 empty] | ü |  |  |  | AC | 1
F12 | [10 empty] | Hydraulic Calculations
F13 | [10 empty] | Exchanger Thermal Rating Calculations
F14 | [10 empty] | Instrument Calculations ( Orifice Calculation )
F15 | [10 empty] | Acoustic Enclosure Ventilation System Calculations
F16 | [10 empty] | Exhaust Duct Calculations
F17 | [10 empty] | Coupling Selection Calculations
F18 | [10 empty] | Lube and Seal Oil System Sizing Calculations
F19 | [10 empty] | Anti Surge System Design Basis
F20 | [10 empty] | Pulsation Damper Design Calculations
F21 | [10 empty] | Rotor/Shaft System Imbalance Response Analysis
F22 | [10 empty] | Piping Stress Analysis
F23 | [10 empty] | Crane Failure Mode Analysis
F24 | [10 empty] | Emergency Shut Down (ESD) Valve
F25 | [10 empty] | Relief Valve and Bursting Disc Calculations
F26 | [10 empty] | Seismic Calculations
F27 | [10 empty] | Telecommunications Calculations
F28 | [10 empty] | Pulsation Analysis Calculations
F29 | [10 empty] | Lighting Calculations
F30 | [10 empty] | Electrical Curves
F31 | [10 empty] | Mechanical Performance Curves
F32 | [10 empty] | Power System Analysis Data
F33 | [10 empty] | Battery Sizing Calculations
F34 | [10 empty] | Cable Sizing Calculations
F99 | [10 empty] | Miscellaneous Calculations
G | [10 empty] | Handling, Installation & Pre-Commissioning
G01 | [10 empty] | Erection Installation Procedures | [5 empty] | ü |  |  |  | BS | 2
G02 | [10 empty] | Unpacking and Preservation Procedures | [5 empty] | ü |  |  |  | BS | 2
G03 | [10 empty] | Handling and Shipping Procedures | [5 empty] | ü |  |  |  | BS | 2
G04 | [10 empty] | Pre-commissioning/Commissioning Procedures | [5 empty] | ü | ü |  |  | BE | 1
G05 | [10 empty] | Erection Fastener Schedule
G06 | [10 empty] | Slinging/Lifting Studies, Arrangements and Procedures Heavy Lift Rigging Studies, Plans, Arrangements and Procedures
G07 | [10 empty] | Flange Management & Bolt Tensioning Torque Procedures
G08 | [10 empty] | Hazardous Material Shipping Certificates
H | [10 empty] | Manufacturing / Installation & Quality Records
H01 | [10 empty] | Quality Manual/ Audit Schedule / Audit Reports | [5 empty] | ü | ü |  |  | BE | 1
H02 | [10 empty] | Quality Plan | [5 empty] | ü | ü |  |  | BE | 1
H03 | [10 empty] | Pressure Test Procedures | [5 empty] | ü | ü |  |  | BE | 1
H04 | [10 empty] | Performance/Acceptance Test Procedures | [5 empty] | ü | ü |  |  | BE | 1
H05 | [10 empty] | Software Quality System
H06 | [10 empty] | Weight Control / Weighing Procedure
H07 | [10 empty] | Health, Safety & Security Plan
H08 | [10 empty] | Health, Safety & Security Procedures / Method Statements Health, Safety & Security Performance Records
H09 | [10 empty] | Health, Safety & Security Registers
H10 | [10 empty] | Inspection & Test Plan | [5 empty] | ü | ü |  |  | BE | 1
H11 | [10 empty] | Inspection Schedule | [5 empty] | ü |  |  |  | BE | 1
H12 | [10 empty] | Alloy Verification / PMI Procedures
H13 | [10 empty] | Not Used - See A15 and A16
H14 | [10 empty] | Not Used - See A18
H15 | [10 empty] | Flange Management and Bolt Torque Logs | [8 empty] | 4
H16 | [10 empty] | Hazardous Area Verification Dossier | [8 empty] | 4
H17 | [10 empty] | Hazardous Area Personnel Competence
H18 | [10 empty] | Hazard Assessment (HAZID Workshop)
H19 | [10 empty] | Induction and Training Documentation
H20 | [10 empty] | Personnel Site Clearance Records
H21 | [10 empty] | Vehicle/Plant/Equipment Clearance Certificates
H22 | [10 empty] | Environmental Management Plans
H23 | [10 empty] | Environmental Reporting
J | [10 empty] | Maintenance & Spare Parts Data
J01 | [10 empty] | Lube Oil And Operating Fluids Schedule
J02 | [10 empty] | Recommended Start-Up/Commissioning Spares List |  |  |  |  | ü | ü | ü |  |  | AC | 1
J03 | [10 empty] | Recommended One Year Operating Spares |  |  |  |  | ü | ü | ü |  |  | AC | 1
J04 | [10 empty] | Not Used
J05 | [10 empty] | Bill of Materials |  |  |  |  | ü | ü | ü |  |  | AC | 1
J06 | [10 empty] | List of Special Tools and Special Patterns |  |  |  |  | ü | ü |  |  |  | AC | 1
J07 | [10 empty] | Chemicals and Catalysts
J08 | [10 empty] | Data Submissions for Tagged Equipment Engineering Properties
K | [10 empty] | Performance & Design Certification
K01 | [10 empty] | Performance Test Reports/Results | [5 empty] | ü |  |  | 4 | AE | 1
K02 | [10 empty] | Factory Acceptance Test Report | [5 empty] | ü | ü |  | 4 | AE | 1
K03 | [10 empty] | Vibration Report | [5 empty] | ü | ü |  | 4 | AE | 1
K04 | [10 empty] | Noise Report | [8 empty] | 4
K05 | [10 empty] | Weighing Report & Certificates
K06 | [10 empty] | Dimensional Report
K07 | [10 empty] | Fire Test Reports/Certificates
K08 | [10 empty] | Equipment Hazardous Area Certificates
K09 | [10 empty] | Certificate of Origin | [5 empty] | ü | ü |  | 4 | BE | 1
K10 | [10 empty] | Register of Safety Related Devices | [5 empty] | ü | ü |  | 4 | AC | 4
K11 | [10 empty] | Site Acceptance Test Report | [5 empty] | ü |  |  |  | AE | 1
K12 | [10 empty] | Communications Interface Test Report | [5 empty] | ü |  |  |  | AE | 1
K13 | [10 empty] | T&E /IT System Integration Test Reports | [5 empty] | ü |  |  |  | AE | 1
K14 | [10 empty] | T&E /IT Test Certificates
L | [10 empty] | Test & Inspection Reports
L01 | [10 empty] | Material Test Certificates and Register | [5 empty] | ü | ü |  | 4 | BE | 1
L02 | [10 empty] | Welder Performance Qualification Certificates
L03 | [10 empty] | NDE Operator Qualifications Register and Documentation
L04 | [10 empty] | Production Test Results (Including Welding)
L05 | [10 empty] | NDE Reports / Certificates
L06 | [10 empty] | Heat Treatment Records
L07 | [10 empty] | Material Traceability Records / Maps
L08 | [10 empty] | Name Plate Photographs (Digital)
L09 | [10 empty] | Electrical Equipment Type Tests
L10 | [10 empty] | Routine Test Certificates-Electrical Machinery
L11 | [10 empty] | Measurement of Resistance Bus Bars
L12 | [10 empty] | Painting/Insulation Inspection Reports and Register
L13 | [10 empty] | Non Conformance Reports and Register
L14 | [10 empty] | Alloy Verification / PMI Test Reports / Certificates
L15 | [10 empty] | Installation Field Inspection Checklists (FICs)
L16 | [10 empty] | System Test Packs
L17 | [10 empty] | Punch Lists and Exceptions Lists / Reports | [5 empty] | ü | ü |  | 4 | AE | 1
L18 | [10 empty] | Flange Management & Bolt Tensions Torque Logs
L19 | [10 empty] | Measurement of Transient and Sub-Transient Reactance
L20 | [10 empty] | NACE Requirements
L21 | [10 empty] | Not Used
L22 | [10 empty] | High Voltage Impulse Test
N | [10 empty] | Renewable Test & Calibration Data
N01 | [10 empty] | Pressure Test Certificates
N02 | [10 empty] | Instrument Test and Calibration Certificates | [5 empty] | ü |  |  | 4 | BE | 1
N03 | [10 empty] | Lifting Equipment Test Certificates
N04 | [10 empty] | Insulation Resistance Test
N05 | [10 empty] | Vessel & Exchanger Code Data Certificates (including 3rd Party Endorsement)
N06 | [10 empty] | Certificate of Compliance | [5 empty] | ü |  |  | 4 | BE | 1
N07 | [10 empty] | Inspection Release Notes, Shipping and Quarantine Dockets | [5 empty] | ü |  |  | 4 | AS | 0
N08 | [10 empty] | Certificate of Authority to Release | [5 empty] | ü |  |  | 4 | BE | 1
N09 | [10 empty] | Agreed Letter of HSE Assurance | [5 empty] | ü |  |  |  | AE | 2
N10 | [10 empty] | Deviation Requests |  |  |  |  | ü | ü |  |  |  | AC | 1
N11 | [10 empty] | Certificate of Conformity | [5 empty] | ü |  |  | 4 | BE | 1
P | [10 empty] | Materials Engineering Data (Supplier Contractor Welded)
P01 | [10 empty] | Weld WPS/WQRs
P02 | [10 empty] | Non Destructive Examination Procedures for Review and Register
P03 | [10 empty] | Forming and Heat Treatment Procedures (incl PWHT)
P04 | [10 empty] | Surface Preparation and Painting Procedure
P05 | [10 empty] | Weld / NDE Traceability Map
Q | [10 empty] | Material Certificates
Q01 | [10 empty] | Material Certificates – Bulk Items
Q02 | [10 empty] | Material Certificates – Package Welded Interfaces Including Register Material Certificates – Exotic Materials, Alloys and Low Temperature Steels
R | [10 empty] | Manuals
R01 | [10 empty] | Installation, Operation and Maintenance Manual | [5 empty] | ü |  | 10 |  | AS | 2
R02 | [10 empty] | Not Used
R03 | [10 empty] | Not Used
R04 | [10 empty] | Not Used
R05 | [10 empty] | Equipment - Manufacturers Data Report | [5 empty] | ü | ü | 10 |  | AS | 2
R06 | [10 empty] | Fabrication - Manufacturers Data Report | [5 empty] | ü | ü | 10 |  | AS | 2
R07 | [10 empty] | Sub Contract - Manufacturers Data Report | [5 empty] | ü | ü | 10 |  | AS | 2
R08 | [10 empty] | MDR Table of Contents | [5 empty] | ü |  |  |  | AC | 1
R09 | [10 empty] | IOM Table of Contents | [5 empty] | ü |  |  |  | AC | 1
X | [10 empty] | Miscellaneous
X01 | [10 empty] | 3D CAD Models
X02 | [10 empty] | Project Photos & Videos
O
Engineered by KBR Technical Services, Inc.
Engineered by KBR Technical Services, Inc.
Engineered by KBR Technical Services, Inc.